To Do Wind Resource Assessment:
1. Set Turbine Design:
  1. Hub height
  2. - rotor diameter
  3. - model etc

1. Short Term Wind Climate
  1. Pre select measured data needed:
    1. Wind Measurements:
      1. - Wind speed
      2. - wind direction
      3. - turbulence intensity
    2. Environmental Measurements:
      1. Humidity
      2. Pressure
      3. Temperature

  1. Pre Filter nc Files:
    1. select only the data needed for Enviroment and Wind Measurements
    2. select one height of interest (e.g. 94, or 140) for selected turbine Design

  1. set pre- filtered file in one dataframe

  1. Filter dataframe: (report page 30 - 33)
    1. Outliers in wind speed and direction
    2. Suspicious data such as freezes
    3. datagaps

  1. Compare the both met masts:
    1. Scatterplot: windspeed 140 m height mast one against windspeed 140m height mast 2
    2. same with the wind direction
    3. correlate with r^2 - linear correlation for both

1. SHORT TERM ANAYSIS
  1. Mean, stdv of omthly and annual ws
  2. wind roses
  3. select parameters for weilbul model
  4. plot weilbul model
  5. Diurnal profile of wind speed (blue) and wind direction (red) at HKW at 100 m MSL
  6. monthly profile of the wind speed
  7. power curve od such a turbin e
  8. annual production of one turbine
  9. annual production of wind farm

1. Long term wind climate
  1. Wind a way to bring hub height, measured height and era5 height together?
    1. rextrapolation model up to hub height

  1. Correlate measured data with era5:
    1. Maybe using linear regression (simplest regression model)

  1. Long Term Analysis
    1. Mean, stdv of omthly and annual ws
    2. wind roses
    3. select parameters for weilbul model
    4. plot weilbul model
    5. Diurnal profile of wind speed (blue) and wind direction (red) at HKW at 100 m MSL
    6. monthly profile of the wind speed
    7. power curve od such a turbin e
    8. annual production of one turbine
    9. annual production of wind farm

1. Modelling the wake effects
  1. Find a geometrically optimized wind farm layout for the areas N-9.1, N-9.2 and N-9.3 using FOXES
  2. To be continued ..